## Executive Summary
BESS-AS-A-SERVICE — TECHNO-ECONOMIC REPORT
Rajesh Textiles, Hyderabad ¦ TSSPDCL Telangana HT-II ¦ 110 kW / 300 kWh LFP BESS
BESS Size | Total CAPEX | Year 1 Saving | NPV | ROI on Equity | Payback
110 kW / 300 kWh | INR 93.8 L | INR 14.1 L | INR +1.58 L | 425% | Year 12
CUSTOMER AND SITE DETAILS
Customer | Rajesh Textiles
Location | Hyderabad, Telangana
DISCOM | TSSPDCL HT-II Industrial
Sanctioned Load | 500 kVA
Annual Peak | 517.5 kW | May — peak summer
Months Breaching | 9 of 12 | paying penal MD charges
BESS SPECIFICATIONS
Chemistry | LFP | 4000+ cycles, safer for C&I
Rated Power | 110 kW
Rated Energy | 300 kWh
C-rate | 0.37 C
Duration | 2.7 hours
Usable DoD | 90%
Round-Trip Eff. | 93%
Degradation | 2.5% per year
CAPEX BREAKDOWN
Battery System | INR 7,500,000 | INR 25,000/kWh × 300 kWh
Power Conversion | INR 880,000 | INR 8,000/kW × 110 kW
BoS + Installation | INR 1,005,600 | 12% of battery+PCS
Total CAPEX | INR 9,385,600
YEAR 1 SAVINGS
MD Charge Reduction | INR 620,956
Penal Charge Saving | INR 268,778 | 9 breach months eliminated
ToD Arbitrage (Dual Cycle) | INR 516,038
Total Annual Saving | INR 1,405,771
BaaS CONTRACT — REVENUE SHARE MODEL
Contract Length | 15 years
Revenue Share | Company 80% — Customer 20%
Customer Year 1 | INR 281,154 | zero upfront investment
Company Equity In | INR 1,877,120
NPV (10% discount) | INR +1,58,284
ROI on Equity | 425%
Payback Period | Year 12

## Cash Flow Model
15-YEAR CASH FLOW MODEL — COMPANY VIEW
Year | Capacity % | Gross Revenue | O&M Cost | Loan Repayment | Net Cash Flow | Cumulative CF | NPV of CF | Customer Share
Year 0 |  |  |  |  | -1,877,120 | -1,877,120
1 | 100.0% | 1,124,617 | 220,000 | 1,141,371 | -236,754 | -2,113,874 | -215,231 | 281,154
2 | 97.5% | 1,170,011 | 220,000 | 1,141,371 | -191,360 | -2,305,234 | -158,149 | 292,503
3 | 95.1% | 1,217,417 | 220,000 | 1,141,371 | -143,954 | -2,449,188 | -108,154 | 304,354
4 | 92.7% | 1,266,931 | 220,000 | 1,141,371 | -94,440 | -2,543,628 | -64,504 | 316,733
5 | 90.4% | 1,318,650 | 220,000 | 1,141,371 | -42,721 | -2,586,349 | -26,527 | 329,662
6 | 88.1% | 1,372,679 | 220,000 | 1,141,371 | 11,308 | -2,575,041 | 6,383 | 343,170
7 | 85.9% | 1,429,126 | 220,000 | 1,141,371 | 67,755 | -2,507,286 | 34,769 | 357,282
8 | 83.8% | 1,488,107 | 220,000 | 1,141,371 | 126,736 | -2,380,550 | 59,123 | 372,027
9 | 81.7% | 1,549,740 | 220,000 | 1,141,371 | 188,369 | -2,192,181 | 79,887 | 387,435
10 | 79.6% | 1,614,152 | 220,000 | 1,141,371 | 252,781 | -1,939,399 | 97,458 | 403,538
11 | 77.6% | 1,681,474 | 220,000 | 0 | 1,461,474 | -477,926 | 512,238 | 420,368
12 | 75.7% | 1,751,844 | 220,000 | 0 | 1,531,844 | 1,053,918 | 488,093 | 437,961
13 | 73.8% | 1,825,407 | 220,000 | 0 | 1,605,407 | 2,659,325 | 465,029 | 456,352
14 | 72.0% | 1,902,315 | 220,000 | 0 | 1,682,315 | 4,341,640 | 443,006 | 475,579
15 | 70.2% | 1,982,727 | 220,000 | 0 | 1,762,727 | 6,104,366 | 421,983 | 495,682
TOTAL |  | 22,695,197 | 3,300,000 | 11,413,710 | 7,981,486 |  |  | 5,673,799

## Monthly Savings
MONTHLY SAVINGS ANALYSIS — YEAR 1
Month | Peak kW | MD Saving | Penal Saving | Arbitrage | Total Saving | Company (80%) | Customer (20%)
January | 441.8 | 49,089 | 0 | 43,003 | 92,092 | 73,674 | 18,418
February * | 452.7 | 50,300 | 3,000 | 43,003 | 96,303 | 77,043 | 19,261
March * | 472.9 | 52,544 | 25,444 | 43,003 | 120,992 | 96,794 | 24,198
April * | 488.9 | 54,322 | 43,222 | 43,003 | 140,548 | 112,438 | 28,110
May * | 517.5 | 57,500 | 75,000 | 43,003 | 175,503 | 140,403 | 35,101
June * | 507.5 | 56,389 | 63,889 | 43,003 | 163,281 | 130,625 | 32,656
July * | 460.2 | 51,133 | 11,333 | 43,003 | 105,470 | 84,376 | 21,094
August * | 453.6 | 50,400 | 4,000 | 43,003 | 97,403 | 77,923 | 19,481
September * | 477.1 | 53,011 | 30,111 | 43,003 | 126,125 | 100,900 | 25,225
October * | 461.5 | 51,278 | 12,778 | 43,003 | 107,059 | 85,647 | 21,412
November | 435.6 | 48,400 | 0 | 43,003 | 91,403 | 73,123 | 18,281
December | 419.3 | 46,589 | 0 | 43,003 | 89,592 | 71,674 | 17,918
ANNUAL TOTAL |  | 620,956 | 268,778 | 516,038 | 1,405,771 | 1,124,617 | 281,154
* Months where peak exceeded sanctioned limit — penal charges eliminated by BESS

## Battery and Tariff
BATTERY DEGRADATION AND TARIFF STRUCTURE
TSSPDCL TARIFF STRUCTURE
Off-Peak | 22:00 to 06:00 | INR 4.20/kWh
Normal | 06:00 to 18:00 | INR 6.80/kWh
Peak | 18:00 to 22:00 | INR 9.50/kWh
ARBITRAGE CALCULATION
Cycle 1 Spread (Peak-Offpeak) | INR 4.98/kWh
Cycle 2 Spread (Normal-Offpeak) | INR 2.28/kWh
Daily Arbitrage Value | INR 1,654
Annual Arbitrage (300 days) | INR 516,038
MODEL COMPARISON
Parameter | Revenue Share | Fixed Fee
Revenue model | % of savings | Fixed monthly fee
Customer certainty | Variable | Fixed — predictable
Company certainty | Variable | Fixed — predictable
NPV result | INR +1.58 L ✓ | Not viable — gap INR 31K/month
Recommended | YES | No